## Foglio1
REC | tech | n° consumers | 50
|  | n° prosumers | 2
|  | Demand (MWh) | 727
|  | PV (kW) | 48.4
|  | azimuth (°) | 0
|  | tilt (°) | 30
|  | BESS (kWh) | 10.24
| economics | Project engineering cost | 2% CAPEX
|  | tax rate on energy sale | 0.2
|  | interest rate | 0.05
|  | Incentives on PV | -
|  | Incentives on BESS | -
Prosumer1 | tech | type user | Supermarket
|  | location | 41.9027835, 12.496365
|  | Demand (MWh) | 350
|  | PV (kW) | 120
|  | azimuth (°) | 0
|  | tilt (°) | 30
|  | BESS (kWh) | 20.48
| economics | Project engineering cost | 2% CAPEX
|  | tax rate on energy sale | 0.2
|  | interest rate | 0.05
|  | Incentives on PV | Bonus50%
|  | Incentives on BESS | Bonus50%
Prosumer2 | tech | type user | School
|  | location | 41.893483,12.492477
|  | Demand (MWh) | 180
|  | PV (kW) | 62.4
|  | azimuth (°) | 0
|  | tilt (°) | 30
|  | BESS (kWh) | -
| economics | Project engineering cost | 2% CAPEX
|  | Tax rate on energy sale | 0.2
|  | interest rate | 0.05
|  | Incentives on PV | Bonus50%
|  | Incentives on BESS | -
PV | tech | isc_ref | 10.47
|  | voc_ref | 49.3
|  | vmppt_ref | 40.6
|  | imppt_ref | 9.86
|  | mu_isc_ref | 0.02
|  | mu_voc_ref | 0.26
|  | ser_cell | 60
|  | t_cell_noct_c | 42
|  | area | 2.07
|  | ef | 1.12
|  | dc_ac_efficiency | 0.97
|  | mismatch_loss | 0.02
|  | wiring_loss | 0.015
|  | soiling_loss | 0.03
| economics | decay | 0.02
|  | CAPEX PV €/kW | 1000
|  | OPEX PV €/kW | 40
|  | Inverter Replacement | after 10 years - 350 €/kW
BESS | tech | c_rate | 1
|  | eta_charge | 0.95
|  | eta_discharge | 0.95
|  | self_discharge_rate_per_hour | 4e-05
| economics | CAPEX BESS €/kWh | 450
|  | OPEX BESS €/kWh | 20
|  | BESS Replacement | after 15 years
Other | - | Electricity price to sell (€/MWh) | 104
|  | Electricity price to buy (€/MWh) | 250